Supplementary Material 1.0

Scatterplot of moderate correlated features and GPR:2%/1 mm

Supplementary Material 1.1

Grid search optimization for each model usinf the reference dataset.

Random Forest (RF)

Grid search method (scoring= “roc_auc”) was performed in RF to find the best hyperparameters. The number of trees (n_estimators= 100) and the number of nodes (max_deepth= 3) were calculated three times shuffling the dataset split. The roc curves (cv=5) for the model with their respective learning curve are displayed below.

Different modifications of the number of trees and nodes were performed and measured.It was concluded that 100 and 3 were de best parameters.

| max_depth | n_estimators | Accuracy | ROC_AUC_CV_5 | Precision | Recall | F1 |
| --- | --- | --- | --- | --- | --- | --- |
| 3 | 100 | 0.73 | 0.79+-0.03 | 0.71 | 0.59 | 0.65 |

XG-Boost

To achieve up to 95% maximum prediction accuracy, a simple XGBoost identified 72 features as the most important. The hyperparameters resulting from Grid search for XGBoost with all features were learning_rate=0.01, max_depth=2, n_estimators=170.

| max_depth | n_estimators | Learning Rate | Accuracy | ROC_AUC_CV_5 | Precision | Recall | F1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | 170 | 0.01 | 0.80 | 0.87+-0.08 | 0.78 | 0.84 | 0.81 |

Neural Network

A simple NN was trained to predict GPRs, changing the number of layers and nodes intuitively keeping the simplest architecture. Using all features the model performance with CV= 5 is shown below in terms of AUC and confusion matrix.

Model: "sequential_157"

_________________________________________________________________

Layer (type)                 Output Shape              Param #

=================================================================

layer_1 (Dense)              (None, 210)                12474

_________________________________________________________________

layer_2 (Dense)              (None, 60)                2211

_________________________________________________________________

layer_3 (Dense)              (None, 1)                 34

=================================================================

Total params: 14,719

Trainable params: 14,719

Non-trainable params: 0

_________________________________________________________________

| Accuracy | ROC_AUC_CV_5 | Precision | Recall | F1 |
| --- | --- | --- | --- | --- |
| 0.72 | 0.81+-0.04 | 0.66 | 0.66 | 0.66 |

Supplementary Material 1.3

Classificatiom performance metrics for each heterogeneity

Random Forest

| Heterogeneity | Metric | 100% - 0% |  | 80% - 20% |  | 60% - 40% |  | 40% - 60% |  | 20% - 80% |  | 0% - 100% |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | mv | sd | mv | sd | mv | sd | mv | sd | mv | sd | mv | sd |
| Dose per fraction | Sensitivity | 0.75 | 0.04 | 0.70 | 0.16 | 0.84 | 0.03 | 0.55 | 0.05 | 0.74 | 0.03 | 0.84 | 0.02 |
|  | Specificity | 0.75 | 0.01 | 0.73 | 0.03 | 0.79 | 0.06 | 0.78 | 0.00 | 0.67 | 0.04 | 0.58 | 0.04 |
|  | Precision | 0.77 | 0.01 | 0.65 | 0.05 | 0.61 | 0.03 | 0.68 | 0.02 | 0.69 | 0.03 | 0.73 | 0.02 |
|  | F1 | 0.76 | 0.03 | 0.70 | 0.09 | 0.70 | 0.02 | 0.61 | 0.04 | 0.71 | 0.02 | 0.78 | 0.01 |
|  | AUC | 0.82 | 0.04 | 0.70 | 0.03 | 0.62 | 0.12 | 0.71 | 0.11 | 0.77 | 0.09 | 0.88 | 0.07 |
| Number of arcs | Sensitivity | 0.80 | 0.01 | 0.72 | 0.01 | 0.78 | 0.01 | 0.68 | 0.01 | 0.71 | 0.03 | 0.72 | 0.07 |
|  | Specificity | 0.81 | 0.03 | 0.81 | 0.01 | 0.63 | 0.01 | 0.67 | 0.01 | 0.75 | 0.03 | 0.80 | 0.02 |
|  | Precision | 0.83 | 0.02 | 0.80 | 0.01 | 0.73 | 0.01 | 0.63 | 0.03 | 0.73 | 0.02 | 0.72 | 0.02 |
|  | F1 | 0.81 | 0.01 | 0.75 | 0.01 | 0.75 | 0.00 | 0.65 | 0.02 | 0.72 | 0.02 | 0.72 | 0.04 |
|  | AUC | 0.88 | 0.06 | 0.81 | 0.07 | 0.80 | 0.04 | 0.75 | 0.13 | 0.79 | 0.08 | 0.86 | 0.07 |
| Treatment Unit | Sensitivity | 0.80 | 0.10 | 0.84 | 0.08 | 0.81 | 0.11 | 0.80 | 0.10 | 0.78 | 0.12 | 0.81 | 0.04 |
|  | Specificity | 0.65 | 0.02 | 0.60 | 0.08 | 0.56 | 0.13 | 0.48 | 0.06 | 0.65 | 0.13 | 0.83 | 0.05 |
|  | Precision | 0.75 | 0.07 | 0.74 | 0.05 | 0.71 | 0.02 | 0.71 | 0.08 | 0.67 | 0.10 | 0.81 | 0.09 |
|  | F1 | 0.77 | 0.09 | 0.78 | 0.06 | 0.75 | 0.04 | 0.75 | 0.08 | 0.69 | 0.08 | 0.81 | 0.06 |
|  | AUC | 0.83 | 0.09 | 0.68 | 0.13 | 0.78 | 0.10 | 0.78 | 0.13 | 0.76 | 0.11 | 0.91 | 0.09 |
| Anatomic Region | Sensitivity | 0.77 | 0.04 | 0.67 | 0.09 | 0.61 | 0.11 | 0.44 | 0.03 | 0.46 | 0.10 | 0.48 | 0.06 |
|  | Specificity | 0.65 | 0.06 | 0.66 | 0.04 | 0.62 | 0.19 | 0.83 | 0.11 | 0.87 | 0.05 | 0.93 | 0.05 |
|  | Precision | 0.73 | 0.03 | 0.66 | 0.06 | 0.65 | 0.06 | 0.68 | 0.16 | 0.67 | 0.10 | 0.79 | 0.09 |
|  | F1 | 0.75 | 0.03 | 0.66 | 0.08 | 0.62 | 0.06 | 0.53 | 0.03 | 0.52 | 0.10 | 0.64 | 0.03 |
|  | AUC | 0.84 | 0.13 | 0.78 | 0.07 | 0.73 | 0.11 | 0.72 | 0.06 | 0.78 | 0.11 | 0.82 | 0.05 |

XG-Boost

| Heterogeneity | Metric | 100% - 0% |  | 80% - 20% |  | 60% - 40% |  | 40% - 60% |  | 20% - 80% |  | 0% - 100% |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | mv | sd | mv | sd | mv | sd | mv | sd | mv | sd | mv | sd |
| Dose per fraction | Sensitivity | 0.69 | 0.02 | 0.72 | 0.09 | 0.80 | 0.04 | 0.56 | 0.06 | 0.73 | 0.03 | 0.84 | 0.02 |
|  | Specificity | 0.64 | 0.06 | 0.65 | 0.08 | 0.44 | 0.10 | 0.71 | 0.06 | 0.67 | 0.16 | 0.58 | 0.04 |
|  | Precision | 0.73 | 0.02 | 0.67 | 0.06 | 0.66 | 0.02 | 0.64 | 0.02 | 0.70 | 0.08 | 0.73 | 0.02 |
|  | F1 | 0.70 | 0.02 | 0.70 | 0.07 | 0.72 | 0.01 | 0.60 | 0.03 | 0.72 | 0.03 | 0.78 | 0.01 |
|  | AUC | 0.87 | 0.09 | 0.75 | 0.1 | 0.66 | 0.1 | 0.70 | 0.05 | 0.78 | 0.09 | 0.89 | 0.07 |
| Number of arcs | Sensitivity | 0.82 | 0.02 | 0.71 | 0.04 | 0.77 | 0.02 | 0.56 | 0.07 | 0.61 | 0.13 | 0.75 | 0.15 |
|  | Specificity | 0.75 | 0.10 | 0.84 | 0.05 | 0.66 | 0.03 | 0.70 | 0.01 | 0.68 | 0.04 | 0.89 | 0.06 |
|  | Precision | 0.81 | 0.05 | 0.80 | 0.01 | 0.75 | 0.02 | 0.62 | 0.04 | 0.62 | 0.08 | 0.83 | 0.01 |
|  | F1 | 0.80 | 0.01 | 0.75 | 0.02 | 0.77 | 0.01 | 0.59 | 0.06 | 0.62 | 0.11 | 0.78 | 0.07 |
|  | AUC | 0.85 | 0.07 | 0.81 | 0.04 | 0.80 | 0.07 | 0.69 | 0.05 | 0.77 | 0.12 | 0.87 | 0.09 |
| Treatment Unit | Sensitivity | 0.80 | 0.03 | 0.74 | 0.06 | 0.76 | 0.09 | 0.78 | 0.12 | 0.68 | 0.13 | 0.77 | 0.07 |
|  | Specificity | 0.58 | 0.11 | 0.61 | 0.14 | 0.64 | 0.16 | 0.55 | 0.04 | 0.65 | 0.12 | 0.77 | 0.06 |
|  | Precision | 0.70 | 0.07 | 0.74 | 0.04 | 0.75 | 0.09 | 0.72 | 0.10 | 0.65 | 0.11 | 0.75 | 0.08 |
|  | F1 | 0.75 | 0.04 | 0.73 | 0.05 | 0.75 | 0.08 | 0.75 | 0.11 | 0.66 | 0.12 | 0.76 | 0.07 |
|  | AUC | 0.80 | 0.04 | 0.68 | 0.12 | 0.76 | 0.12 | 0.71 | 0.17 | 0.84 | 0.17 | 0.86 | 0.06 |
| Anatomic Region | Sensitivity | 0.81 | 0.02 | 0.65 | 0.11 | 0.60 | 0.05 | 0.46 | 0.14 | 0.63 | 0.24 | 0.65 | 0.10 |
|  | Specificity | 0.63 | 0.10 | 0.68 | 0.02 | 0.67 | 0.08 | 0.78 | 0.12 | 0.73 | 0.18 | 0.91 | 0.02 |
|  | Precision | 0.74 | 0.05 | 0.66 | 0.05 | 0.66 | 0.01 | 0.60 | 0.10 | 0.67 | 0.13 | 0.78 | 0.05 |
|  | F1 | 0.77 | 0.02 | 0.66 | 0.08 | 0.62 | 0.02 | 0.50 | 0.14 | 0.59 | 0.13 | 0.61 | 0.08 |
|  | AUC | 0.84 | 0.09 | 0.78 | 0.07 | 0.67 | 0.1 | 0.75 | 0.04 | 0.76 | 0.18 | 0.88 | 0.08 |

Neural Network

| Heterogeneity | Metric | 100% - 0% |  | 80% - 20% |  | 60% - 40% |  | 40% - 60% |  | 20% - 80% |  | 0% - 100% |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | mv | sd | mv | sd | mv | sd | mv | sd | mv | sd | mv | sd |
| Dose per fraction | Sensitivity | 0.93 | 0.06 | 0.91 | 0.03 | 0.91 | 0.06 | 0.80 | 0.05 | 0.78 | 0.11 | 0.92 | 0.01 |
|  | Specificity | 0.90 | 0.02 | 0.92 | 0.04 | 0.87 | 0.06 | 0.86 | 0.10 | 0.91 | 0.04 | 0.89 | 0.06 |
|  | Precision | 0.90 | 0.02 | 0.93 | 0.03 | 0.91 | 0.03 | 0.84 | 0.10 | 0.90 | 0.05 | 0.88 | 0.06 |
|  | F1 | 0.90 | 0.02 | 0.92 | 0.01 | 0.91 | 0.04 | 0.81 | 0.04 | 0.83 | 0.08 | 0.90 | 0.03 |
|  | AUC | 0.94 | 0.03 | 0.89 | 0.04 | 0.87 | 0.03 | 0.88 | 0.05 | 0.93 | 0.02 | 0.92 | 0.03 |
| Number of arcs | Sensitivity | 0.87 | 0.07 | 0.80 | 0.08 | 0.88 | 0.01 | 0.90 | 0.06 | 0.90 | 0.05 | 0.94 | 0.06 |
|  | Specificity | 0.80 | 0.03 | 0.84 | 0.05 | 0.67 | 0.04 | 0.68 | 0.01 | 0.70 | 0.04 | 0.84 | 0.02 |
|  | Precision | 0.83 | 0.04 | 0.82 | 0.03 | 0.89 | 0.05 | 0.87 | 0.02 | 0.89 | 0.02 | 0.92 | 0.03 |
|  | F1 | 0.84 | 0.01 | 0.80 | 0.01 | 0.90 | 0.03 | 0.88 | 0.01 | 0.91 | 0.01 | 0.91 | 0.01 |
|  | AUC | 0.90 | 0.05 | 0.84 | 0.01 | 0.90 | 0.02 | 0.83 | 0.11 | 0.88 | 0.04 | 0.96 | 0.04 |
| Treatment Unit | Sensitivity | 0.98 | 0.04 | 0.98 | 0.02 | 0.89 | 0.01 | 0.95 | 0.05 | 0.86 | 0.10 | 0.93 | 0.08 |
|  | Specificity | 0.92 | 0.08 | 0.90 | 0.10 | 0.91 | 0.02 | 0.86 | 0.07 | 0.89 | 0.02 | 0.95 | 0.08 |
|  | Precision | 0.94 | 0.06 | 0.92 | 0.07 | 0.93 | 0.02 | 0.91 | 0.06 | 0.88 | 0.01 | 0.96 | 0.07 |
|  | F1 | 0.96 | 0.02 | 0.95 | 0.05 | 0.90 | 0.01 | 0.92 | 0.04 | 0.87 | 0.07 | 0.95 | 0.05 |
|  | AUC | 0.97 | 0.03 | 0.96 | 0.02 | 0.89 | 0.07 | 0.92 | 0.03 | 0.94 | 0.01 | 0.98 | 0.01 |
| Anatomic Region | Sensitivity | 0.90 | 0.10 | 0.92 | 0.01 | 0.88 | 0.05 | 0.91 | 0.04 | 0.83 | 0.13 | 0.93 | 0.07 |
|  | Specificity | 0.79 | 0.07 | 0.87 | 0.05 | 0.93 | 0.06 | 0.92 | 0.07 | 0.91 | 0.04 | 0.98 | 0.03 |
|  | Precision | 0.83 | 0.06 | 0.88 | 0.05 | 0.92 | 0.08 | 0.88 | 0.10 | 0.86 | 0.06 | 0.97 | 0.04 |
|  | F1 | 0.86 | 0.03 | 0.89 | 0.03 | 0.90 | 0.06 | 0.89 | 0.07 | 0.85 | 0.09 | 0.95 | 0.03 |
|  | AUC | 0.94 | 0.04 | 0.90 | 0.02 | 0.90 | 0.05 | 0.93 | 0.03 | 0.95 | 0.04 | 0.95 | 0.04 |